## Sheet1
| CURRENT TOTAL: | 88905
BASEMENT
TASK | MATERIALS | LABOR
Powerwash all | 75 | 750
Waterproof walls (2 coats) | 280 | 960
Paint floor | 125 | 560
Ceiling drywall | 175 | 2100
Paint wood walls/ceiling | 100 | 960
New light fixtures | 225 | 150
Scrape/Paint windows | 20 | 200
Seal coal chute | 25 | 120
TOTAL: | 1025 | 5800 | 6825
DINING ROOM
TASK | MATERIALS | LABOR
Strip woodwork | 60 | 800
Revarnish woodwork | 40 | 250
Repair window seat | 40 | 300
Repair ceiling | 50 | 250
Repair walls | 50 | 250
Paint ceiling | 20 | 40
Paint walls | 40 | 400
| 300 | 2290 | 2590
LIVING ROOM
TASK | MATERIALS | LABOR
Remove acoustic tiles | 0 | 50
Resurface ceiling with drywall | 100 | 900
Repair damaged walls | 20 | 150
Paint ceiling | 20 | 40
Paint walls | 40 | 200
Clean fireplace | 20 | 250
Strip woodwork | 60 | 1200
Revarnish woodwork | 40 | 300
Open 2 small windows, S wall | 0 | 50
| 300 | 3140 | 3440
FRONT PORCH
TASK | MATERIALS | LABOR
Move front door & wall
Remove vinyl flooring | 0 | 30
Paint floor | 60 | 250
Repaint walls & ceiling | 60 | 550
Light fixtures replaced with fans | 300 | 150
Install 10 new windows | 4000 | 2500
New entry door | 600 | 300
| 5020 | 3780 | 8800
STAIRS & LANDING
TASK | MATERIALS | LABOR
Refinish stairs | 40 | 400
Paint walls | 40 | 400
Paint ceiling | 20 | 125
Repair plaster | 20 | 60
Caulk crown molding | 5 | 30
Replace E handrail, remove other | 100 | 75
| 225 | 1090 | 1315
UPSTAIRS HALL
TASK | MATERIALS | LABOR
Paint walls | 40 | 200
Paint ceiling | 40 | 125
New light fixture | 45 | 150
Paint woodwork | 20 | 400
Caulk crown molding | 5 | 30
| 150 | 905 | 1055
SW BEDROOM
TASK | MATERIALS | LABOR
Repair plaster walls & ceiling | 50 | 450
Sand ceiling flat | 20 | 220
Repaint walls | 20 | 125
Repaint ceiling | 20 | 125
Repaint woodwork | 20 | 400
Enlarge closet opening | 50 | 560
New sliding closet door | 500 | 700
New light fixture | 45 | 150
| 725 | 2730 | 3455
SE BEDROOM
TASK | MATERIALS | LABOR
Repair walls | 20 | 50
Sand ceiling flat | 20 | 220
Paint walls | 20 | 125
Paint ceiling | 20 | 125
Paint woodwork | 20 | 400
Enlarge closet door opening | 50 | 560
New sliding closet door | 500 | 700
New light fixture | 45 | 150
Modify 2nd closet over steps
| 695 | 2330 | 3025
MASTER BEDROOM COMPLEX
TASK | MATERIALS | LABOR
Remove wall between bedrooms |  | 200
Remove wall to sunporch | 100 | 560
Rebuild porch roof | 300 | 560
Rebuild wall @ chimney | 50 | 150
Repair walls & ceiling | 30 | 125
Paint walls | 40 | 250
Paint ceiling | 20 | 175
Build new closets
Install new trip in new areas | 300 | 800
Drywall new areas
New light fixtures | 200 | 300
Wall-in 1 door opening | 100 | 150
Paint woodwork | 20 | 400
Repair floor @ chimney opening | 50 | 220
| 1210 | 3890 | 5100
BATHROOM
TASK | MATERIALS | LABOR
New toilet | 200 | subcontractor
New tub/shower
New sink
Repair plaster | 20 | 250
New tile floor
New light fixtures | 90 | 150
Paint walls | 20 | 125
Paint ceiling | 20 | 50
Paint woodwork | 20 | 200
Reface medicine cabinet door
New hardware
| 370 | 775 | 1145
ATTIC
TASK | MATERIALS | LABOR
Drywall
New windows | 1600 | 2200
New toilet | 200 | subcontractor
New tub/shower
New sink
Build new balusters
Build closet(s)
New light fixtures | 300 | 600
Woodwork trim | 300 | 1400
Paint walls | 60 | 560
Paint woodwork | 40 | 800
New door for bathroom | 250 | 560
Bath hardware
Bath cabinets
| 2750 | 6120 | 8870
KITCHEN/BATH/ENTRY COMPLEX
TASK | MATERIALS | LABOR
New cabinets
New white formica countertops
New sink
Expand door opening to deck
New sliding glass doors | 1200
New toilet
New bath sink
Bath floor
Backsplashes
Move walls
New walls
Drywall new walls
Paint kitchen walls | 40 | 400
Paint kitchen ceiling | 20 | 125
Paint kitchen woodwork | 20 | 400
Repair plaster walls/ceiling | 20 | 560
Build new floor over stairs
Move basement stairs
New trim in bath
New trim in entry
New trim in kitchen
New appliances (?)
Strip woodwork | 40 | 1500
Varnish woodwork | 60 | 400
| 1400 | 3385 | 4785
EXTERIOR
TASK | MATERIALS | LABOR
Build rear deck (20x25) |  | 7500 | ($15/sq. ft.)
Paint house |  | 5000 | subcontractor
Repave driveway |  | 2000 | subcontractor
Fence |  |  | subcontractor
Change dormer siding to match exterior
Repair water damaged soffits
Clean/repair gutters |  | 500
Remove paito stones |  | 500 | subcontractor
Repair roof as necessary
Tuckpoint foundation
Misc. repairs |  | 4000
|  | 19500 | 19500
SUBCONTRACTORS
TASK | MATERIALS | LABOR
Heat/AC--forced air |  | 15000
Plumbing
Electrical
Waste disposal/demolition |  | 4000
Floor refinishing
Landscape
Carpet
| 0 | 19000 | 19000
GARAGE
TASK | MATERIALS | LABOR
Replace missing siding
New concrete floor
New gutters
Repair roof
Repair roof sag(?)
| 0 | 0 | 0